

Submittal Information

PVC 90 Degree Elbow

F

 90 Degree Elbow-5 pieces

* Standard Size Elbows Fabricated From Seamless

Extruded PVC Duct

* All Fitting Dimensions Based on 1:1 Fitting Ratio
* Fitting Segments Triple-Pass Welded Using 5/32” PVC Welding Rod
* All Dimensions In Inches
* All Dimensions are to CSSI Standards and are Subject to Change

PRODUCT DIMENSIONS

|  |
| --- |
|  |

90

PVC 90 DEGREE ELBOW SUBMITTAL INFORMATION

A

Model Number Nominal Duct Size Average Duct O.D. A B Average Wall End Type

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  Thickness  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 90-PVC-6-1 | 6 | 6.625 | 6.625 | A+2" | 0.187 |
| 90-PVC-7-1 | 7 | 7.375 | 7.375 | A+2" | 0.187 |
| 90-PVC-8-1 | 8 | 8.625 | 8.625 | A+2" | 0.187 |
| 90-PVC-9-1 | 9 | 9.375 | 9.375 | A+2" | 0.187 |
| 90-PVC-10-1 | 10 | 10.75 | 10.75 | A+2" | 0.187 |
| 90-PVC-12-1 | 12 | 12.75 | 12.75 | A+2" | 0.187 |
| 90-PVC-14-1 | 14 | 14 | 14 | A+2" | 0.187 |
| 90-PVC-16-1 | 16 | 16 | 16 | A+2" | 0.187 |
| 90-PVC-18-1 | 18 | 18 | 18 | A+2" | 0.187 |
| 90-PVC-20-1 | 20 | 20 | 20 | A+3" | 0.219 |
| 90-PVC-24-1 | 24 | 24 | 24 | A+3" | 0.25 |

SOCKET

“B” END TYPE