CPVC



Submittal Information

PVC Gravity Damper

|  |
| --- |
| * Constructed from PVC Duct and Type I PVC Sheet

For use in Ventilation Systems* Welded Construction using 5/32” PVC Welding

Rod* All Dimensions in Inches
* All Dimensions are to CSSI Standards and are

Subject to change. |
|  |
|  |

PRODUCT DIMENSIONS

|  |
| --- |
|  |

PVC GRAVITY DAMPER SUBMITTAL INFORMATION

Model Number Nominal Duct Size A\* B\* C\* Bolt Hole

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| GD-PVC-4 | 4 | 6 | 5 | 9 | 1/2 |
| GD-PVC-6 | 6 | 7.625 | 6.625 | 11 | 1/2 |
| GD-PVC-8 | 8 | 9.625 | 8.625 | 13.50 | 1/2 |
| GD-PVC-9 | 9 | 10.375 | 9.375 | 15 | 1/2 |
| GD-PVC-10 | 10 | 11.750 | 10.750 | 16 | 1/2 |
| GD-PVC-12 | 12 | 13.750 | 12.750 | 19 | 1/2 |
| GD-PVC-14 | 14 | 15 | 14 | 21 | 1/2 |
| GD-PVC-16 | 16 | 17 | 16 | 23.50 | 1/2 |
| GD-PVC-18 | 18 | 19 | 18 | 25 | 1/2 |
| GD-PVC-20 | 20 | 21 | 20 | 27.5 | 1/2 |
| GD-PVC-24 | 24 | 25 | 24 | 32 | 1/2  |

