CPVC

Submittal Information

PVC 45 Degree Wye Branch



|  |
| --- |
| * Constructed from PVC Duct For Use In   Ventilation Systems   * Fitting Pieces Triple-Pass Welded Using 5/32”   PVC Welding Rod   * All Dimensions in Inches |
|  |
| * All Dimensions are to CSSI standards and are   Subject to Change |

PRODUCT DIMENSIONS

|  |
| --- |
|  |

45

PVC 45 DEGREE WYE BRANCH SUBMITTAL INFORMATION

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model Number | | Nominal Size | | | A | | B “B”-End Type | |
|  | |  | | |  | |  | |
| BR45-PVC-6-6 | | 6 ON 6 | 6.625 + 1/16 | | 6.625 + 1/16 | |
| BR45-PVC-6-7 | | 6 ON 7 | 6.625 + 1/16 | | 7.375 + 1/16 | |
| BR45-PVC-6-8 | | 6 ON 8 | 6.625 + 1/16 | | 8.625 + 1/16 | |
| BR45-PVC-6-9 | | 6 ON 9 | 6.625 + 1/16 | | 9.375 + 1/16 | |
| BR45-PVC-6-10 | | 6 ON 10 | 6.625 + 1/16 | | 10.75 + 1/16 | |
| BR45-PVC-6-12 | | 6 ON 12 | 6.625 + 1/16 | | 12.75 + 1/16 | |
| BR45-PVC-6-14 | | 6 ON 14 | 6.625 + 1/16 | | 14 + 1/16 | |
| BR45-PVC-6-16 | | 6 ON 16 | 6.625 + 1/16 | | 16 + 1/16 | |
| BR45-PVC-6-18 | | 6 ON 18 | 6.625 + 1/16 | | 18 + 1/16 | |
| BR45-PVC-6-20 | | 6 ON 20 | 6.625 + 1/16 | | 20 + 1/16 | |
| BR45-PVC-6-24 | | 6 ON 24 | 6.625 + 1/16 | | 24 + 1/16 | |
|  | |  |  | |  | |
| BR45-PVC-7-7 | | 7 ON 7 | 7.375 + 1/16 | | 7.375 + 1/16 | |
| BR45-PVC-7-8 | | 7 ON 8 | 7.375 + 1/16 | | 8.625 + 1/16 | |
| BR45-PVC-7-9 | | 7 ON 9 | 7.375 + 1/16 | | 9.375 + 1/16 | |
| BR45-PVC-7-10 | | 7 ON 10 | 7.375 + 1/16 | | 10.75 + 1/16 | |
| BR45-PVC-7-12 | | 7 ON 12 | 7.375 + 1/16 | | 12.75 + 1/16 | |
| BR45-PVC-7-14 | | 7 ON 14 | 7.375 + 1/16 | | 14 + 1/16 | |
| BR45-PVC-7-16 | | 7 ON 16 | 7.375 + 1/16 | | 16 + 1/16 | |
| BR45-PVC-7-18 | | 7 ON 18 | 7.375 + 1/16 | | 18 + 1/16 | |
| BR45-PVC-7-20 | | 7 ON 20 | 7.375 + 1/16 | | 20 + 1/16 | |
| BR45-PVC-7-24 | | 7 ON 24 | 7.375 + 1/16 | | 24 + 1/16 | |

SOCKET