CPVC

Submittal Information

PVC 90 Degree Tee Branch



|  |
| --- |
| * Constructed from PVC Duct For Use In

Ventilation Systems* Fitting Pieces Triple-Pass Welded Using 5/32”

PVC Welding Rod* All Dimensions in Inches
 |
|  |
| * All Dimensions are to CSSI standards and are

Subject to Change |

PRODUCT DIMENSIONS

|  |
| --- |
| PVC 90 DEGREE SUBMITTAL INFORMATION |

SOCKET

 Model Nominal “C”&”D”

 Number Reducer Size A B C D End Type

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| BR90-PVC-6-6 | 6 ON 6 | 10.875 | 14.625 | 6.625 + 1/16 | 6.625 + 1/16 |
| BR90-PVC-6-7 | 6 ON 7 | 11.625 | 14.625 | 6.625 + 1/16 | 7.375 + 1/16 |
| BR90-PVC-6-8 | 6 ON 8 | 12.875 | 14.625 | 6.625 + 1/16 | 8.625 + 1/16 |
| BR90-PVC-6-9 | 6 ON 9 | 13.625 | 14.625 | 6.625 + 1/16 | 9.375 + 1/16 |
| BR90-PVC-6-10 | 6 ON 10 | 15 | 14.625 | 6.625 + 1/16 | 10.75 + 1/16 |
| BR90-PVC-6-12 | 6 ON 12 | 17 | 14.625 | 6.625 + 1/16 | 12.75 + 1/16 |
| BR90-PVC-6-14 | 6 ON 14 | 18.187 | 18.625 | 6.625 + 1/16 | 14 + 1/16 |
| BR90-PVC-6-16 | 6 ON 16 | 20.196 | 18.625 | 6.625 + 1/16 | 16 + 1/16 |
| BR90-PVC-6-18 | 6 ON 18 | 22.196 | 18.625 | 6.625 + 1/16 | 18 + 1/16 |
| BR90-PVC-6-20 | 6 ON 20 | 24.219 | 20.625 | 6.625 + 1/16 | 20 + 1/16 |
| BR90-PVC-6-24 | 6 ON 24 | 28.249 | 20.625 | 6.625 + 1/16 | 24 + 1/16 |
|  |  |  |  |  |  |
| BR90-PVC-7-7 | 7 ON 7 | 11.625 | 15.375 | 7.375 + 1/16 | 7.375 + 1/16 |
| BR90-PVC-7-8 | 7 ON 8 | 12.875 | 15.375 | 7.375 + 1/16 | 8.625 + 1/16 |
| BR90-PVC-7-9 | 7 ON 9 | 13.625 | 15.375 | 7.375 + 1/16 | 9.375 + 1/16 |
| BR90-PVC-7-10 | 7 ON 10 | 15 | 15.375 | 7.375 + 1/16 | 10.75 + 1/16 |
| BR90-PVC-7-12 | 7 ON 12 | 17 | 15.375 | 7.375 + 1/16 | 12.75 + 1/16 |
| BR90-PVC-7-14 | 7 ON 14 | 18.25 | 19.375 | 7.375 + 1/16 | 14 + 1/16 |
| BR90-PVC-7-16 | 7 ON 16 | 20.187 | 19.375 | 7.375 + 1/16 | 16 + 1/16 |
| BR90-PVC-7-18 | 7 ON 18 | 22.196 | 19.375 | 7.375 + 1/16 | 18 + 1/16 |
| BR90-PVC-7-20 | 7 ON 20 | 24.219 | 21.375 | 7.375 + 1/16 | 20 + 1/16 |
| BR90-PVC-7-24 | 7 ON 24 | 28.249 | 21.375 | 7.375 + 1/16 | 24 + 1/16 |

“B” END TYPE